## Slide 1
NEONURTURE INCUBATOR
Design that Matters (DTM)

## Slide 2: OUR TEAM
Sakshi Pandey Sakshi Tulsyan Sapna Saini Tanishka Singh Royal
Rishank

## Slide 3: INTRODUCTION
Many developing-country hospitals struggle to keep premature babies warm.
Imported incubators often break and cannot be repaired.
NeoNurture was designed as a low-cost, locally fixable incubator.

## Slide 4: BACKGROUND
Neonatal hypothermia is a major cause of infant deaths.
Hospitals rely heavily on donated equipment.
70–90% of donated incubators fail within a year due to lack of parts.

## Slide 5
Some images of Incubator

## Slide 6: PROBLEMS
Main problem:
Existing incubators break down, and hospitals cannot repair them.
Challenges:
Proprietary spare parts unavailable Lack of biomedical technicians Unreliable electricity
Dusty, humid, hot environments

## Slide 7: EMPATHISE
1
2
Designers visited hospitals in
Vietnam and other countries.
Observed nurses,
technicians, and patient flow.
Studied real environmental
constraints.

## Slide 8: INSIGHTS FROM
EMPATHY WORK
Nurses need simple, intuitive devices.
Technicians cannot fix medical machines.
BUT… mechanics can repair anything on motorcycles or cars.
Car parts are cheap, available, and familiar.

## Slide 9: DEFINE
1
2
How might we design an
incubator that can be easily
repaired with parts and skills
available locally?
Key needs:
Safe temperature control
Easy to clean
Redundant systems
Low cost and low complexity

## Slide 10: IDEATE STAGE
1
2
Brainstorming around using
automotive parts:
Car headlights as heating
elements
Auto fans for airflow
Engine temperature sensors for control
Car battery for backup power
Dashboard indicators for alerts

## Slide 11: SELECTED CONCEPT:
“CAR PARTS
1
INCUBATOR”
2
Chosen idea: build an
incubator from standard
automotive components.
Benefits:
Cheap
Locally repairable
Easy to source
Durable in harsh environments

## Slide 12: PROTOTYPE
Prototypes included:
Cardboard/foam models for
sizing
Functional units with bulbs +
fans
Modular shell for easy cleaning
Battery backup system

## Slide 13: FEATURES OF NEONURTURE
INCUBATOR
Uses car headlights as heat source
Auto temperature sensors Car fan for air circulation Dashboard lights for alerts
Powered by mains + car battery Easy-open design for cleaning

## Slide 14: TESTING IN CLINICS
1
Conducted testing with:
usability and
Nurses →
controls
Technicians
→
repairability
→
dust, heat,
Environmental tests
humidity
battery
Power outage simulations →
reliability

## Slide 15: IMPACT& LIMITATION
1
2
Impact:
Proved a low-cost,
repairable medical device is
possible.
Influenced global thinking on
“design for repairability”.
Became a teaching model
worldwide.
Limitations:
Did not reach mass manufacturing
due to regulatory hurdles.

## Slide 16
https://youtube.com/shorts/CDodr3rrmKU?si=Y1tlrhyvQWYZFD08

## Slide 17: CONCLUSION
NeoNurture shows how design thinking can solve real healthcare challenges.
Key insight: Design for the systems that already work locally. Result: an incubator that mechanics—not specialists—can fix.
A powerful case of human-centered innovation

## Slide 18: Thank You